## list of all models
NON-INVERTER MODELS
J-CHASSIS |  |  | V-CHASSIS |  | E-CHASSIS
0.5HP | 0.75HP | 1.0HP | 1.0HP | 1.5HP | 2.0HP | 2.5HP
CW-N620JPH | CW-N820JPH | CW-N920JPH | CW-N1020VPH | CW-N1220VPH | CW-N1820EPH | CW-N2420EPH
CW-MN620JPH | CW-MN820JPH | CW-MN920JPH | CW-XN1020VPH | CW-MN1220VPH | CW-XN1820EPH | CW-XN2420EPH
CW-XN620JPH | CW-XN820JPH | CW-XN920JPH |  | CW-XN1220VPH | CW-N1821EA | CW-N2421EA
| CW-N721JA | CW-N921JA |  | CW-N1221VA | CW-XN1821EA | CW-XN2421EA
| CW-XN721JA | CW-XN921JA |  | RC-N1221V | RC-N1821E | RC-N2421E
| RC-N721J | RC-N921J |  | CW-XN1221VA | RC-XN1821E | RC-XN2421E
| RC-XN721J | RC-XN921J |  | RC-XN1221V
INVERTER MODELS
J-CHASSIS |  | V-CHASSIS |  | TAIWAN CHASSIS (28/36 chassy) | E
0.75HP | 1.0HP (Compact) | 1.0HP | 1.5HP | 1.5HP | 2.0HP | 2.5HP
CW-HU70AA | CW-U921JPH | CW-XU1021VPH | CW-XU1221VPH | CW-HZ120AA | CW-XU1821EPH | CW-XU2421EPH
RC-HU70A | CW-U923JPH-W | CW-U1021VPH | CW-U1221VPH | RC-HZ120A | CW-U1821EPH | CW-U2421EPH
CW-SU70AA | CW-U923JPH-H |  | CW-SU120AA | CW-HU120AA | CW-HZ180AA | CW-HZ240AA
RC-SU70A | CW-HU90AA |  | RC-SU120A | RC-HU120A | RC-HZ180A | RC-HZ240A
CW-HZ70AA | RC-HU90A |  | CW-SUL120BA |  | CW-SU180AA | CW-SU240AA
RC-HZ70A | CW-SU90AA |  | RC-SUL120B |  | RC-SU180A | RC-SU240A
| RC-SU90A |  | CW-XU1225VPH |  | CW-HU180AA | CW-HU240AA
| CW-HZ90AA |  |  |  | RC-HU180A | RC-HU240A
| RC-HZ90A |  |  |  | CW-SUL180BA | CW-SUL240BA
| CW-XU925JPH |  |  |  | RC-SUL180B | RC-SUL240B
[5 empty] | CW-XU1825EPH | CW-XU2425EPH
WSAC MODELS
J-CHASSIS |  |  | V-CHASSIS |  | E-CHASSIS
YWA | BWA |  | YWA | BWA | YWA | BWA
CU-U9YWA | CU-HZ9BWA |  | CU-U12YWA | CU-HZ12BWA | CU-U18YWA | CU-HZ18BWA
RU-U9YW | RU-HZ9BW |  | RU-U12YW | RU-HZ12BW | RU-U18YW | RU-HZ18BW

## BWA.BW
Model | Module | Part Number | Part Description | Usage | Tag
CU-HZ12BWA | CRS | 9SS080XDD41 | COMPRESSOR | 1 | Compressor
| CRS | ACXA98-03370 | FAN MOTOR | 1 | Fan Motor
| CRS | ACXB05-01320 | EXPANSION VALVE | 1 | Safety Part
| CRS | ACXA43C07310 | EXPANSION COIL | 1 | Safety Part
| CRS | ACXB01-05840 | 3 WAY VALVE | 1 | Safety Part
| CRS | ACXB02-03860 | 2 WAY VALVE | 1 | Safety Part
| GMS | Z71R32 | REFRIGERANT | 0.66 | Gas Charge
| CB | ACXA74C07460 | PCB CKT | 1 | Safety Part
| CB | ACXA28-02070 | TERMINAL BOARD ASSY | 1 | Safety Part
| CB | ACXA50C21680 | SENSOR | 1 | Safety Part
| CB | ACXA50C21700 | SENSOR | 1 | Safety Part
| CB | ACXA60C88200 | POWER SUPPLY LEADWIRE | 1 | Safety Part
| CB | ACXA60C88270 | GROUND WIRE | 1 | Safety Part
| CB | ACXA61C06150 | LEAD WIRE COMPLETE | 1 | Safety Part
| RUNNING |  | CURRENT
| POWER |  | POWER
CW-HZ18BWA | CRS | 9RD138XKA23 | COMPRESSOR | 1 | Compressor
| CRS | ACXA98-03370 | FAN MOTOR | 1 | Fan Motor
| CRS | ACXB05-01330 | EXPANSION VALVE | 1 | Safety Part
| CRS | ACXA43C07320 | EXPANSION COIL | 1 | Safety Part
| CRS | ACXB01-05860 | 3 WAY VALVE | 1 | Safety Part
| CRS | ACXB02-03860 | 2 WAY VALVE | 1 | Safety Part
| GMS | Z71R32 | REFRIGERANT | 0.84 | Gas Charge
| CB | ACXA74C07470 | PCB CKT | 1 | Safety Part
| CB | ACXA28-02070 | TERMINAL BOARD ASSY | 1 | Safety Part
| CB | ACXA50C21690 | SENSOR | 1 | Safety Part
| CB | ACXA50C21700 | SENSOR | 1 | Safety Part
| CB | ACXA60C88200 | POWER SUPPLY LEADWIRE | 1 | Safety Part
| CB | ACXA60C88270 | GROUND WIRE | 1 | Safety Part
| CB | ACXA61C06150 | LEADWIRE COMPLETE | 1 | Safety Part
| RUNNING |  | CURRENT
| POWER |  | POWER
CU-HZ9BWA | CRS | 9SS064XJB41 | COMPRESSOR | 1 | Compressor
| CRS | ACXA98-03360 | FAN MOTOR | 1 | Fan Motor
| CRS | ACXA43C07310 | EXPANSION VALVE COIL | 1 | Safety Part
| CRS | ACXB05-01320 | EXP VALVE | 1 | Safety Part
| CRS | ACXB01-05770 | 3 WAY VALVE | 1 | Safety Part
| CRS | ACXB02-03820 | 2 WAY VALVE | 1 | Safety Part
| GMS | Z71R32 | REFRIGERANT | 0.56 | Gas Charge
| CB | ACXA74C07450 | PCB CKT | 1 | Safety Part
| CB | ACXA28-02070 | TERMINAL BOARD ASSY | 1 | Safety Part
| CB | ACXA50C21680 | SENSOR | 1 | Safety Part
| CB | ACXA50C21700 | SENSOR | 1 | Safety Part
| CB | ACXA60C88200 | POWER SUPPLY LEADWIRE | 1 | Safety Part
| CB | ACXA60C88270 | GROUND WIRE | 1 | Safety Part
| CB | ACXA61C06140 | COMPRESSOR LEADWIRE | 1 | Safety Part
| RUNNING |  | CURRENT
| POWER |  | POWER
RU-HZ12BW | CRS | 9SS080XDD41 | COMPRESSOR (ACXB09-10360) | 1 | Compressor
| CRS | ACXA98-03370 | FAN MOTOR | 1 | Fan Motor
| CRS | ACXB01-05840 | 3 WAY VALVE | 1 | Safety Part
| CRS | ACXB02-03860 | 2 WAY VALVE | 1 | Safety Part
| CRS | ACXB05-01320 | EXPANTION VALVE ASSY | 1 | Safety Part
| CRS | ACXA43C07310 | EXPANSION VALVE COIL | 1 | Safety Part
| GMS | Z71R32 | REFRIGERANT | 0.66 | Gas Charge
| CB | ACXA74C07460 | PCB CKT ASSY | 1 | Safety Part
| CB | ACXA28-02070 | TERMINAL BOARD ASSY | 1 | Safety Part
| CB | ACXA60C88200 | POWER SUPPLY LEADWIRE | 1 | Safety Part
| CB | ACXA60C88270 | GROUND WIRE | 1 | Safety Part
| CB | ACXA50C21680 | SENSOR | 1 | Safety Part
| CB | ACXA50C21700 | SENSOR | 1 | Safety Part
| CB | ACXA61C06150 | LEAD WIRE COMPLETE | 1 | Safety Part
| RUNNING |  | CURRENT
| POWER |  | POWER
RU-HZ18BW | CRS | 9RD138XKA23 | COMPRESSOR | 1 | Compressor
| CRS | ACXA98-03370 | FAN MOTOR | 1 | Fan Motor
| CRS | ACXB05-01330 | EXPANSION VALVE | 1 | Safety Part
| CRS | ACXA43C07320 | EXPANSION COIL | 1 | Safety Part
| CRS | ACXB01-05860 | 3 WAY VALVE | 1 | Safety Part
| CRS | ACXB02-03860 | 2 WAY VALVE | 1 | Safety Part
| GMS | Z71R32 | REFRIGERANT | 0.84 | Gas Charge
| CB | ACXA74C07470 | PCB CKT | 1 | Safety Part
| CB | ACXA28-02070 | TERMINAL BOARD ASSY | 1 | Safety Part
| CB | ACXA50C21690 | SENSOR | 1 | Safety Part
| CB | ACXA50C21700 | SENSOR | 1 | Safety Part
| CB | ACXA60C88200 | POWER SUPPLY LEADWIRE | 1 | Safety Part
| CB | ACXA60C88270 | GROUND WIRE | 1 | Safety Part
| CB | ACXA61C06150 | LEAD WIRE COMPLETE | 1 | Safety Part
| RUNNING |  | CURRENT
| POWER |  | POWER
RU-HZ9BW | CRS | 9SS064XJB41 | COMPRESSOR | 1 | Compressor
| CRS | ACXA98-03360 | FAN MOTOR | 1 | Fan Motor
| CRS | ACXB05-01320 | EXPANSION VALVE | 1 | Safety Part
| CRS | ACXA43C07310 | EXPANSION COIL | 1 | Safety Part
| CRS | ACXB01-05770 | 3 WAY VALVE | 1 | Safety Part
| CRS | ACXB02-03820 | 2 WAY VALVE | 1 | Safety Part
| GMS | Z71R32 | REFRIGERANT | 0.56 | Gas Charge
| CB | ACXA74C07450 | PCB CKT | 1 | Safety Part
| CB | ACXA28-02070 | TERMINAL BOARD ASSY | 1 | Safety Part
| CB | ACXA50C21680 | SENSOR | 1 | Safety Part
| CB | ACXA50C21700 | SENSOR | 1 | Safety Part
| CB | ACXA60C88200 | POWER SUPPLY LEADWIRE | 1 | Safety Part
| CB | ACXA60C88270 | GROUND WIRE | 1 | Safety Part
| CB | ACXA61C06140 | COMPRESSOR LEADWIRE | 1 | Safety Part
| RUNNING |  | CURRENT
| POWER |  | POWER

## J CHASSIS Dom (Inverter)
Model | Module | Part Number | Part Description | Usage | Tag
CW-U921JPH | CRS | 9SS064XHA21 | COMPRESSOR | 1 | Compressor | Model String
| CRS | ACXA98-02590 | FAN MOTOR 1 | 1 | Fan Motor | Module String
| CRS | ACXA98-02600 | FAN MOTOR 2 | 1 | Safety Part | Part Number String
| CRS | G0C702K00002 | REACTOR | 1 | Safety Part | Part Description String
| CRS | ACXA43C07110 | EXP VALVE COIL | 1 | Safety Part | Usage Float
| CRS | ACXB05-00010 | EXP VALVE (SOLENOID VALVE ) | 1 | Safety Part | Tag String
| GMS | Z71R32 | REFRIGERANT | 0.41 | Gas Charge
| SPAMS | ACXH10C94900 | CONTROL BOARD COMPLETE ( O/D ) | 1 | Safety Part | Search Model, Module
| SPAMS | ACXA50C17330 | SENSOR COMPLETE | 1 | Safety Part
| SPAMS | ACXA50C17440 | SENSOR COMPLETE | 1 | Safety Part
| SPAMS | ACXA60C79160 | LEADWIRE(GROUND) | 1 | Safety Part
| SPAMS | ACXH10C99070 | CONTROL BOARD OUTDOOR | 1 | Safety Part
| CB | ACXA98-02182 | STEPPING MOTOR | 1 | Safety Part
| CB | ACXA20C03180 | PS CORD | 1 | Safety Part
| CB | ACXA73C76810 | ELECTRONIC CONTROLLER | 1 | Safety Part
| CB | ACXA50C15530 | SENSOR COMPLETE | 1 | Safety Part
| CB | ACXA28K02600 | TERMINAL BOARD ASSEMBLY | 1 | Safety Part
| CB | ACXA60C78870 | COMMUNICATION LEADWIRE | 1 | Safety Part
| RUNNING |  | CURRENT |  | Characteristics
|  |  | POWER |  | Characteristics
U923JPH-H | CRS | 9SS064XHA21 | COMPRESSOR | 1 | Compressor
| CRS | ACXA98-02590 | FAN MOTOR 1 | 1 | Fan Motor
| CRS | ACXA98-02600 | FAN MOTOR 2 | 1 | Safety Part
| CRS | G0C702K00002 | REACTOR | 1 | Safety Part
| CRS | ACXA43C07110 | EXP VALVE COIL | 1 | Safety Part
| CRS | ACXB05-00010 | EXP VALVE (SOLENOID VALVE ) | 1 | Safety Part
| GMS | Z71R32 | REFRIGERANT | 0.41 | Gas Charge
| SPAMS | ACXA50C17330 | SENSOR COMPLETE | 1 | Safety Part
| SPAMS | ACXA50C17440 | SENSOR COMPLETE | 1 | Safety Part
| SPAMS | ACXA60C79160 | LEADWIRE(GROUND) | 1 | Safety Part
| SPAMS | ACXH10C99070 | CONTROL BOARD OUTDOOR | 1 | Safety Part
| CB | ACXA98-02182 | STEPPING MOTOR | 1 | Safety Part
| CB | ACXA20C03180 | PS CORD | 1 | Safety Part
| CB | ACXA73C76810 | ELECTRONIC CONTROLLER | 1 | Safety Part
| CB | ACXA50C15530 | SENSOR COMPLETE | 1 | Safety Part
| CB | ACXA28K02600 | TERMINAL BOARD ASSEMBLY | 1 | Safety Part
| CB | ACXA60C78870 | COMMUNICATION LEADWIRE | 1 | Safety Part
| RUNNING |  | CURRENT |  | Characteristics
|  |  | POWER |  | Characteristics
U923JPH-W | CRS | 9SS064XHA21 | COMPRESSOR | 1 | Compressor
| CRS | ACXA98-02590 | FAN MOTOR 1 | 1 | Fan Motor
| CRS | ACXA98-02600 | FAN MOTOR 2 | 1 | Safety Part
| CRS | G0C702K00002 | REACTOR | 1 | Safety Part
| CRS | ACXA43C07110 | EXP VALVE COIL | 1 | Safety Part
| CRS | ACXB05-00010 | EXP VALVE (SOLENOID VALVE ) | 1 | Safety Part
| GMS | Z71R32 | REFRIGERANT | 0.41 | Gas Charge
| SPAMS | ACXA50C17330 | SENSOR COMPLETE | 1 | Safety Part
| SPAMS | ACXA50C17440 | SENSOR COMPLETE | 1 | Safety Part
| SPAMS | ACXA60C79160 | LEADWIRE(GROUND) | 1 | Safety Part
| SPAMS | ACXH10C99070 | CONTROL BOARD OUTDOOR | 1 | Safety Part
| CB | ACXA98-02182 | STEPPING MOTOR | 1 | Safety Part
| CB | ACXA20C03180 | PS CORD | 1 | Safety Part
| CB | ACXA73C76810 | ELECTRONIC CONTROLLER | 1 | Safety Part
| CB | ACXA50C15530 | SENSOR COMPLETE | 1 | Safety Part
| CB | ACXA28K02600 | TERMINAL BOARD ASSEMBLY | 1 | Safety Part
| CB | ACXA60C78870 | COMMUNICATION LEADWIRE | 1 | Safety Part
| RUNNING |  | CURRENT |  | Characteristics
|  |  | POWER |  | Characteristics
CW-XU925JPH | CRS | 9SS064XHA21 | COMPRESSOR | 1 | Compressor
| CRS | ACXA98-02590 | FAN MOTOR 1 | 1 | Fan Motor
| CRS | ACXA98-02600 | FAN MOTOR 2 | 1 | Safety Part
| CRS | G0C702K00002 | REACTOR | 1 | Safety Part
| CRS | ACXA43C07110 | EXP COIL | 1 | Safety Part
| CRS | ACXB05-00010 | EXP VALVE (SOLENOID VALVE) | 1 | Safety Part
| GMS | Z71R32 | REFRIGERANT | 0.41 | Gas Charge
| SPAMS | ACXA50C17330 | SENSOR COMPLETE | 1 | Safety Part
| SPAMS | ACXA50C17440 | SENSOR COMPLETE | 1 | Safety Part
| SPAMS | ACXA60C79160 | LEADWIRE COMPLETE | 1 | Safety Part
| SPAMS | ACXH10C99070 | CONTROL BOARD OUTDOOR | 1 | Safety Part
| CB | ACXA98-02182 | STEPPING MOTOR | 1 | Safety Part
| CB | ACXA20C03180 | PS CORD | 1 | Safety Part
| CB | ACXA73C72240 | ELECTRONIC CONTROLLER | 1 | Safety Part
| CB | ACXA50C15530 | SENSOR COMPLETE | 1 | Safety Part
| CB | ACXA28K02600 | TERMINAL BOARD ASSEMBLY | 1 | Safety Part
| CB | ACXA60C78870 | COMMUNICATION LEADWIRE | 1 | Safety Part
| CB | ACXH94C00800 | NANOEX (GENERATOR) | 1 | Safety Part
| CB | NOGE1E000014 | NANOEX (PCB) | 1 | Safety Part
| CB | ACXA60C85890 | LEADWIRE COMPLETE | 1 | Safety Part
| CB | ACXA60C85880 | LEADWIRE COMPLETE | 1 | Safety Part
| CB | ACXA60C85900 | LEADWIRE COMPLETE | 1 | Safety Part
| CB | ACXA60C85910 | LEADWIRE COMPLETE | 1 | Safety Part
| RUNNING |  | CURRENT |  | Characteristics
|  |  | POWER |  | Characteristics